## Intro
Introduction
Water-Energy Simulator (WESim)
Click here to get started:
To navigate through WESim, use the hyperlinks with -> and -< symbols near the top of each page or the links on
the top navigation panel. Within the panel, the active page is shown in white; click on the blue pages to navigate
to them. Gray pages are not available from your current location.
If you get stuck, click the help links for more information.
Input cells look like this:
WESim can be used in either the user or developer mode; please see the manual for information about each.
The user mode is enabled by default. You can select among the modes by clicking the buttons on the right.
WESim was developed by the Pacific Institute and Robert Wilkinson with support from the WateReuse Research Foundation,
the California Energy Commission, and the Canadian Mortgage and Housing Corporation.
Developer Mode 7
User Mode 8

## Start
Start Page
Data file location: | C:\Users\Matt\Desktop\Wesim_Data.accdb
Country: | United States
Countries
Name of Simulation: | Simulation name | bUS | 1
(optional) |  |  |  | Canada
United States
Description of Simulation: | Notes about the simulation
(optional)
Duplicate the Current File 2
Create a New File... !
Open an Existing File... 1
View Folder 5
Check Database Connection C
Data File Management Tasks
Clear This Sheet 5

## Energy
This is an ActiveX label component for storing the name of the sheet we came from and will navigate back to:
Energy Source Manager
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23
| Energy Source Description | Fuel Type | Measurement/ Billing Units | Emissions Factors (enter kg) |  |  |  | Total Global Warming Potential | [7 empty] | Energy Sources Lookups |  |  |  | These 4 columns get saved to the database when user clicks "Save" | [6 empty] | Conversion Factors for Energy Density Units |  | Conversion Factors for GHG Emissions Factors |  | Global Warming Potentials |  | Liquid Units
|  |  |  | Carbon Dioxide, CO2 | Methane, CH4 | Nitrous Oxide, N2O |  | kg CO2 equivalent | [7 empty] | Active | Num | Name | User Unit | Heat Content, kJ per User Unit | Transmission Loss | Conversion Efficiency | Source:Site Ratio |  |  |  | Energy Density Units | Multiply by [ _ ] to get kilojoules (kJ) | Emissions Units | Multiply by [ _ ] to get kg CO2-eq | Pollutant | Potency Factor | Unit | Liters
1 | Electricity purchased from utility | Electricity | kWh | 0.588 | 1.14e-05 | 8.93e-06 | per kWh | #VALUE! | [7 empty] | 1 | 1 | Electricity purchased from utility | kWh | 3600 | 0.06156 | 0.31904 | 3.34 |  |  |  | Btu | 1.0551 | kg C-eq | 3.6667 | CO2 | 1 | gal | 3.7854
2 | Onsite co-generation | Biogas | ft³ | 0 | 0 | 0 | per ft³ | #VALUE! | [7 empty] | 1 | 2 | Onsite co-generation | ft³ | 633.0336 | 0 | 1 | 1 |  |  |  | horsepower-hour | 2684.52 | kg CO2-eq | 1 | CH4 | 21 | L | 1
3 | Gasoline | Gasoline | gal | 8.78 | 0.0014 | 0.0001 | per gal | #VALUE! | [7 empty] | 1 | 3 | Gasoline | gal | 131956.909 | 0.009901 | 1 | 1.01 |  |  |  | J | 0.001 | lb C-eq | 1.6632 | N2O | 310 | barrel | 159
4 | Diesel fuel | Diesel | gal | 10.21 | 0.0015 | 0.0001 | per gal | #VALUE! | [7 empty] | 1 | 4 | Diesel fuel | gal | 146326.7717 | 0.009901 | 1 | 1.01 |  |  |  | kCal | 4.1868 | lb CO2-eq | 0.45359 |  |  | kL | 0.001
5 | Natural gas | Natural Gas | therm | 5.302 | 0.0001 | 1e-05 | per therm | #VALUE! | [7 empty] | 1 | 5 | Natural gas | therm | 105505.6 | 0.044894 | 1 | 1.047 |  |  |  | kJ | 1 | metric ton C-eq | 3666.6667 |  |  | m³ | 0.001
6 | Solar | Solar | kWh | 0 | 0 | 0 | per kWh | #VALUE! | [7 empty] | 1 | 6 | Solar | kWh | 3600 | 0 | 1 | 1 |  |  |  | kWh | 3600 | metric ton CO2-eq | 1000
7 | Wind | Wind | kWh | 0 | 0 | 0 | per kWh | #VALUE! | [7 empty] | 1 | 7 | Wind | kWh | 3600 | 0 | 1 | 1 |  |  |  | kWh-eq | 12024.0522 | ton C-eq | 3326.3439
8 | Hydropower | Hydropower | kWh | 0 | 0 | 0 | per kWh | #VALUE! | [7 empty] | 1 | 8 | Hydropower | kWh | 3600 | 0 | 1 | 1 |  |  |  | GJ | 1000000 | ton CO2-eq | 907.1847
9 |  |  | #N/A |  |  |  | #N/A | #VALUE! | [7 empty] | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  |  |  | GWh | 3600000000
10 |  |  | #N/A |  |  |  | #N/A | #VALUE! | [7 empty] | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  |  |  | GWh-eq | 12024052208.6271 | Source:Site Ratio
11 |  |  | #N/A |  |  |  | #N/A | #VALUE! | [7 empty] | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  |  |  | megaelectron-volt | 1.6022e-16 | Country | Ratio
12 |  |  | #N/A |  |  |  | #N/A | #VALUE! | [7 empty] | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  |  |  | MJ | 1000 | US | 3.34
13 |  |  | #N/A |  |  |  | #N/A | #VALUE! | [7 empty] | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  |  |  | MMBtu | 1055056 | Canada | 3.407
14 |  |  | #N/A |  |  |  | #N/A | #VALUE! | [7 empty] | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  |  |  | MWh | 3600000
15 |  |  | #N/A |  |  |  | #N/A | #VALUE! | [7 empty] | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  |  |  | MWh-eq | 12024052.2086
[27 empty] | therm | 105506
[16 empty] | Energy Archetypes |  | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | TJ | 1000000000
[16 empty] | Fuel Type | FuelID | U.S. Unit | Canada Unit | Gross Heat Content (Btu/US unit) | US Heating Value (kJ/unit) | Conversion Factor: Canada unit/US Unit | Canada Heating Value (kJ/unit) | Transmission Loss US | Transmission Loss Canada | Souce Conversion Efficiency | watt-hour-eq | 3.6
[16 empty] | Electricity | 1 | kWh | kWh | 3412.142 | 3600 | 1 | 3600 | 0.06156 | 0.08 | 0.31904
[16 empty] | Natural Gas | 2 | therm | m³ | 100000 | 105505.6 | 0.35315 | 37258.9545 | 0.044894 | 0.044894 | 1 | Colums for lookup functions
[16 empty] | Biogas | 3 | ft³ | m³ | 600 | 633.0336 | 35.3147 | 22355.3727 | 0 | 0 | 1 | Cell Name | Column
[16 empty] | Biodiesel | 4 | gal | L | 138690 | 146325.7166 | 0.26417 | 38655.1718 | 0.01 | 0.01 | 1 | col | 3
[16 empty] | Diesel | 5 | gal | L | 138691 | 146326.7717 | 0.26417 | 38655.4506 | 0.009901 | 0.009901 | 1 | col2 | 6
[16 empty] | Gasoline | 6 | gal | L | 125071 | 131956.909 | 0.26417 | 34859.3338 | 0.009901 | 0.009901 | 1 | col3 | 9
[16 empty] | Propane | 7 | gal | L | 91333 | 96361.4296 | 0.26417 | 25456.0012 | 0.01 | 0.01 | 1
[16 empty] | Heating Oil | 8 | gal | L | 138690 | 146325.7166 | 0.26417 | 38655.1718 | 0.01 | 0.01 | 1
[16 empty] | Solar | 9 | kWh | kWh | 3412.142 | 3600 | 1 | 3600 | 0 | 0 | 1
[16 empty] | Wind | 10 | kWh | kWh | 3412.142 | 3600 | 1 | 3600 | 0 | 0 | 1
[16 empty] | Hydropower | 11 | kWh | kWh | 3412.142 | 3600 | 1 | 3600 | 0 | 0 | 1
[16 empty] | Other | 12 | kJ | kJ | 0.94782 | 1 | 1 | 1 | 0 | 0 | 1
Fuel Energy Helper Table
[16 empty] | User Energy Description | FuelID
[16 empty] | Electricity purchased from utility | 1
[16 empty] | Onsite co-generation | 3
[16 empty] | Gasoline | 6
[16 empty] | Diesel fuel | 5
[16 empty] | Natural gas | 2
[16 empty] | Solar | 9
[16 empty] | Wind | 10
[16 empty] | Hydropower | 11
[16 empty] | 0 | #N/A
[16 empty] | 0 | #N/A
[16 empty] | 0 | #N/A
[16 empty] | 0 | #N/A
[16 empty] | 0 | #N/A
[16 empty] | 0 | #N/A
[16 empty] | 0 | #N/A
[16 empty] | 0 | #N/A
Note on Q22: These are the generic fuel types from which the user can choose when filling out the table that is visible at left on this sheet. It allows us to fill in some parameters for the user without actually displaying them, such as Transmission Loss Conversion Efficiency Source:Site Ratio
Note on Y23: For electricity, this is the amount of energy lost via transmission lines. For liquid or gases, analysts assume that a certain amount leaks along the supply chain.
Note on AA23: This really only applies to electrical generation, and accounts for the efficiency of converting heat energy to electrical energy.
Save
Cancel

## Scenarios
Scenario Manager
1 | Click "Add a Scenario" to create your first Scenario -->
2 | Click on the Scenario name to begin adding water system facilities. Create more scenarios by duplicating the first one, or adding new ones.
3
4
5
6
7
8
9
10
Edit Energy Sources 2
Add a Scenario
Duplicate a Scenario
Change Order of Scenarios
Rename a Scenario
Delete a Scenario
Scenario Management
Edit a Scenario… 7
Test

## System
Water System Manager
| Scenario: | Test
Show:
|  | Set flow units |  | MG | per | day
|  | Set energy units |  | kWh | per | day
Click button to edit a facility
Extraction
Water Conveyance
Water Treatment
#VALUE! | #VALUE! |  | #VALUE! | #VALUE!
Water Distribution
Wastewater Collection
Wastewater Treatment
Wastewater Discharge
Operations
Customer End Use
Volume Units
gal
kgal
[13 empty] | Calculations |  |  |  | Time Units |  | gal UK |  | Energy Density Units
[9 empty] | ScenarioID | 1 |  |  | user volume unit | MG |  |  | second |  | L |  | Btu
[13 empty] | mult. by [_] to get m³ | 3785.412 |  |  | minute |  | kL |  | MMBtu
[13 empty] | user time unit | day |  |  | hour |  | ML |  | J
[13 empty] | mult. By [_] to get days | 1 |  |  | day |  | MG |  | kJ
[13 empty] | bDisplayFlow | TRUE |  |  | week |  | BG |  | MJ
[13 empty] | bDisplayEnergy | TRUE |  |  | month |  | m³ |  | GJ
[13 empty] | Flow num. conv | 3785.412 |  |  | two months |  | ft³ |  | TJ
[13 empty] | flow denom. conv. | 1 |  |  | quarter |  | HCF |  | kWh
[13 empty] | Energy num. conv. | 3600 |  |  | year |  | AF |  | MWh
[13 empty] | Energy denom. conv. | 1 |  |  |  |  | TAF |  | GWh
KAF
Facilities Flow Table, in m³/day
SortOrder -->
[7 empty] | Type | Sum | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
[7 empty] | 1 | 0
[7 empty] | 2 | 0
[7 empty] | 3 | 5 | SortOrder --> 0: 5
[7 empty] | 4 | 0
[7 empty] | 5 | 0
[7 empty] | 6 | 0
[7 empty] | 7 | 0
[7 empty] | 8 | 0
[7 empty] | 9 | 0
Facilities Flow Table, in user-specified units
SortOrder -->
[7 empty] | Type | Sum | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
1
2
[7 empty] | 3 | #VALUE! | SortOrder --> 0: #VALUE!
4
5
6
7
8
9
Facilities Energy Use Table, in kJ/day
SortOrder -->
[7 empty] | Type | Sum | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
[7 empty] | 1 | 0
[7 empty] | 2 | 0
[7 empty] | 3 | 760.8155 | SortOrder --> 0: 760.8155
[7 empty] | 4 | 0
[7 empty] | 5 | 0
[7 empty] | 6 | 0
[7 empty] | 7 | 0
[7 empty] | 8 | 0
[7 empty] | 9 | 0
Facilities Energy Use Table, in user-specified units
SortOrder -->
[7 empty] | Type | Sum | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
1
2
[7 empty] | 3 | #VALUE! | SortOrder --> 0: #VALUE!
4
5
6
7
8
9
Note on B9: Extraction refers to the extraction of water from its source to the surface. Energy requirements for water supply depend upon the location of the water relative to the surface and the method of extraction. Using this definition, the energy intensity of water supply for water that is already at the surface, e.g., seawater, recycled water, or river water, is zero
Note on B11: Water conveyance refers to the transport of untreated water through aqueducts, canals, and pipelines from its source to a water treatment facility or directly to an end user. Energy requirements for conveyance depend primarily on the distance and net elevation that it is pumped, as well as the efficiency of pumps used.
Note on B13: Water treatment refers to processes and technologies that treat water to potable water standards prior to its distribution to homes and businesses. The energy requirements for treatment depend upon the quality of the source water and the technology employed to treat that water.
Note on B15: Water distribution refers to the transport of treated water to the customer. Like conveyance, the energy intensity of distribution depends largely on the distance and elevation that water is pumped, as well as the energy efficiency of pumps.
Note on B17: Wastewater collection refers to the movement of untreated wastewater from the end user to the wastewater treatment facility. The energy requirements for wastewater collection depend upon local geography and pump efficiency.
Note on B19: Wastewater treatment refers to the application of biological, physical, and/or chemical processes to bring wastewater to discharge standards. The energy requirements for wastewater treatment depend upon the level of treatment and, because wastewater must be pumped throughout the treatment facility, pump efficiency.
Note on B21: Wastewater discharge refers to the movement of treated wastewater from the wastewater treatment facility to the receiving waters. Energy requirements for wastewater discharge depend upon local geography and pump efficiency.
Note on B23: Operations refers to other energy use by a water utility, such as transportation, buildings, etc.
Note on B25: Customer end-use of water refers to the multitude of ways that we use water in residential, commercial, industrial, institutional, and agricultural settings, which include for personal hygiene, dish and clothes washing, landscape and crop irrigation, process water, and equipment cooling. Energy use associated with customer water end use is typically associated with heating, cooling, water treatment (e.g., filtering and softening), circulation, and supplemental pressurization in high rises.
Note on BW43: List source for in-cell drop down menus created using Excel's Data Validation feature
W a t e r
Wastwewater
Facility Management
Add a Facility
Duplicate a Facility
Change order of the Facilities
Rename a Facility
Delete a Facility
Water Flow
Energy Use
Edit a Facility… @
Test

## Facility
Water System | [7 empty] | lblFacility |  |  | Time Units List Source: |  | Time Units Lookup Table |  |  | System Elements List Source: |  | System Elements Lookup Table (sorted): |  |  | Volume Units List Source: |  |  | Volume Units Lookup Table: |  |  | Energy Sources List Source: |  | Energy Sources Lookup Table: |  |  | Emissions Factors | [6 empty] | Volume units for form |  | Temperature Units | List fill range |  | Distance Units
Facility Editor | [10 empty] | Unit |  | Time Units | Convert to Days |  | Element |  | Element | FacilityType |  | Volume Units |  |  | Volume Units | Convert to m³ |  | Source |  | Source | User Unit | Energy Density: kJ / User Unit | kg CO2 / user unit | kg CH4 / user unit | kg N2O / user unit | Transmission Loss | Conversion Efficiency | Source:Site Ratio | Pump Efficiencies | Unit | m³ | Degrees | Choices | Binary Value | Unit | Convert to m
[8 empty] | bTime1 | 0 |  | second |  | day | 1 |  | Extraction |  | Extraction | 1 |  | gal |  |  | AF | 1233.4818 |  | Electricity purchased from utility |  | Diesel fuel | gal | 146326.7717 | 10.21 | 0.0015 | 0.0001 | 0.9901% | 100% | 1.01 | 0.5 | gal | 0.0037854 | ºF | Yes | 1 | ft | 0.3048
[8 empty] | bTime2 | 1 |  | minute |  | hour | 0.041667 |  | Conveyance |  | Conveyance | 2 |  | kgal |  |  | BG | 3785412 |  | Onsite co-generation |  | Electricity purchased from utility | kWh | 3600 | 0.588 | 1.14e-05 | 8.93e-06 | 6.156% | 31.9% | 3.34 | 0.55 | kgal | 3.7854 | ºC | No | 0 | m | 1
Facility Name: | Test | [6 empty] | bTime3 | 1 |  | hour |  | minute | 0.00069444 |  | Water Treatment |  | Water Treatment | 3 |  | gal UK |  |  | ft³ | 0.028317 |  | Gasoline |  | Gasoline | gal | 131956.909 | 8.78 | 0.0014 | 0.0001 | 0.9901% | 100% | 1.01 | 0.6 | MG | 3785.412
[8 empty] | bTime4 | 1 |  | day |  | month | 30.4375 |  | Distribution |  | Distribution | 4 |  | L |  |  | gal | 0.0037854 |  | Diesel fuel |  | Hydropower | kWh | 3600 | 0 | 0 | 0 | 0% | 100% | 1 | 0.65 | BG | 3785412
Facility Type: | Water Treatment | [6 empty] | bTime5 | 1 |  | week |  | quarter | 91.3125 |  | Wastewater Collection |  | Wastewater Collection | 5 |  | kL |  |  | gal UK | 0.0045461 |  | Natural gas |  | Natural gas | therm | 105505.6 | 5.302 | 0.0001 | 1e-05 | 4.489% | 100% | 1.047 | 0.7 | gal UK | 0.0045461
|  |  |  | kL | [6 empty] | month |  | second | 1.1574e-05 |  | Wastewater Treatment |  | Wastewater Treatment | 6 |  | ML |  |  | L | 0.001 |  | Solar |  | Onsite co-generation | ft³ | 633.0336 | 0 | 0 | 0 | 0% | 100% | 1 | 0.75 | L | 0.001
| Water Use: | 5 | per | day | [6 empty] | two months |  | two months | 60.875 |  | Wastewater Discharge |  | Wastewater Discharge | 7 |  | GL |  |  | kL | 1 |  | Wind |  | Solar | kWh | 3600 | 0 | 0 | 0 | 0% | 100% | 1 | 0.8 | kL | 1
[8 empty] | FacilityType | 3 |  | quarter |  | week | 7 |  | Operations |  | Operations | 8 |  | MG |  |  | ML | 1000 |  | Hydropower |  | Wind | kWh | 3600 | 0 | 0 | 0 | 0% | 100% | 1 | 0.85 | ML | 1000
[8 empty] | bHasButton | FALSE |  | year |  | year | 365.25 |  | End Use |  | End Use | 9 |  | BG |  |  | GL | 1000000 | [12 empty] | 0.9 | GL | 1000000
| Energy Source | Amt. of Energy |  | Units | Choose one | Units of Time | Units of Water | [13 empty] | m³ |  |  | ft³ | 0.028317 | [12 empty] | 0.95 | m³ | 1
Source 1: | Electricity purchased from utility | 160 |  | kWh | per |  | MG | Values to write to tblFacility | [12 empty] | ft³ |  |  | HCF | 2.8317 | [12 empty] | 1 | ft³ | 0.028317
[8 empty] | Flow | 5 | m3·day–1 | [10 empty] | HCF |  |  | KAF | 1233481.84 | [13 empty] | HCF | 2.8317
Source 2: |  |  |  |  | per |  |  |  | 0.0013209 | MGD | [10 empty] | AF |  |  | kgal | 3.7854 | [13 empty] | AF | 1233.4818
[21 empty] | TAF |  |  | m³ | 1 | [13 empty] | TAF | 1233481.84
Source 3: |  |  |  |  | per |  |  | Site Energy | 760.8155 | kJ/day | [10 empty] | KAF |  |  | MG | 3785.412 | [13 empty] | KAF | 1233481.84
[9 empty] | 77.1911 | kWh/year | [13 empty] | TAF | 1233481.84 |  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
Source 4: |  |  |  |  | per |  |  |  | 0.21134 | kWh/day
Source 5: |  |  |  |  | per |  |  | Source Energy | 2541.1347 | kJ/day |  | CALCULATIONS
[9 empty] | 257.8193 | kWh/year |  | Water Use
[9 empty] | 0.70587 | kWh/day |  | Conversion | 1 | unit · m–3
[12 empty] | Entered water use in m3 | 5 | m³
[8 empty] | Emissions CO2 | 0.13242 | kg CO2/day |  | Time conversion factor | 1 | day–1
[9 empty] | 0.024183 | ton CO2/yr |  | Water use | 5 | m3·day–1
[8 empty] | Emissions CH4 | 2.5673e-06 | kg/day |  | (a) Energy Use per unit Time calculations
[9 empty] | 4.6885e-07 | ton/yr |  | Num | Source (echo string) | Energy Consumption (user units) | Unit Conversion (kJ/user unit) | Source:Site Energy Ratio | Consumption ( kJ / _ ) | Per [ _ ] Unit of Time | Time Conversion (units/day) | Site Energy Usage Rate (kJ/day) | Transmission Loss | Generated Energy (user units) | Generated Energy (kJ/day) | Conversion Efficiency | Source Usage Rate (kJ/day) | Carbon Dioxide Emissions Factor (kg CO2/ user energy unit) | Methane Emissions Factor (kg CH4/ user energy unit) | Nitrous Oxide Emissions Factor (kg N2O/ user energy unit) | 1: Carbon Dioxide Emissions Rate (kg CO2/day); 2: Methane Emissions Rate (kg CH4/day); 3: Nitrous Oxide Emissions Rate (kg N2O/day); 4: Total GHG Emissions Rate (kg CO2-eq/day); 5: Energy Consumption (user units/year)
[12 empty] | 1 | #N/A | #N/A | 3600 | 3.34 | #N/A | #N/A | #N/A | 0 | #N/A | #N/A | 0 | #N/A | 0 | 0 | 0 | 0 | 1: 0; 2: 0; 3: 0; 4: 0; 5: 0
[8 empty] | Emissions N2O | 2.011e-06 | kg/day |  | 2 | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | #N/A | 0 | #N/A | #N/A | 0 | #N/A | 0 | 0 | 0 | 0 | 1: 0; 2: 0; 3: 0; 4: 0; 5: 0
[9 empty] | 3.6727e-07 | ton/yr |  | 3 | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | #N/A | 0 | #N/A | #N/A | 0 | #N/A | 0 | 0 | 0 | 0 | 1: 0; 2: 0; 3: 0; 4: 0; 5: 0
[12 empty] | 4 | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | #N/A | 0 | #N/A | #N/A | 0 | #N/A | 0 | 0 | 0 | 0 | 1: 0; 2: 0; 3: 0; 4: 0; 5: 0
[8 empty] | Emissions GHG | 0.13308 | kg CO2-eq/day |  | 5 | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | #N/A | 0 | #N/A | #N/A | 0 | #N/A | 0 | 0 | 0 | 0 | 1: 0; 2: 0; 3: 0; 4: 0; 5: 0
[9 empty] | 0.024304 | ton CO2-eq/yr |  | Total | [7 empty] | 0 |  |  |  |  | 0 |  |  |  | 1: 0; 2: 0; 3: 0; 4: 0
(b) Energy Use per unit of Volume calculations
[8 empty] | Energy Intensity | 152.1631 | kg CO2/day |  | Num | Source (echo string) | Energy Consumption (user units) | Generated Energy Consumption (user units) | Unit Conversion (kJ/unit) | Consumption ( kJ / _ ) | Per [ _ ] Water volume | Water volume in (m³/user unit) | Site Energy Intensity (kJ/m³) | Transmission Loss | Genreated Energy Intensity (kJ/m³) | Conversion Efficiency | Source Energy Intensity (kJ/m³) | Carbon Dioxide Emissions Factor (kg CO2/ user energy unit) | Methane Emissions Factor (kg CH4/ user unit) | Nitrous Oxide Emissions Factor (kg N2O/ user unit) | Carbon Dioxide Volumetric Emissions Rate (kg CO2/user unit water) | Methane Volumetric Emissions Rate (kg CO2/user unit water) | Nitrous Oxide Volumetric Emissions Rate (kg CO2/user unit water) | Emissions per std. unit water volume (kg CO2/m³) | Emissions per std. unit water volume (kg CH4/m³) | Emissions per std. unit water volume (kg N2O/m³) | Total GHG Emissions per std. unit water volume (kg CO2-eq/m³) | Energy Consumption (user units/year)
[9 empty] | 160 | ton CO2/yr |  | 1 | Electricity purchased from utility | 160 | 170.4957 | 3600 | 576000 | MG | 3785.412 | 152.1631 | 0.06156 | 162.1447 | 0.31904 | 508.2269 | 0.588 | 1.14e-05 | 8.93e-06 | 100.2515 | 0.0019437 | 0.0015225 | 0.026484 | 5.1346e-07 | 4.0221e-07 | 0.026616 | 77.1911
[12 empty] | 2 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | 0 | #N/A | 0 | #N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 3 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | 0 | #N/A | 0 | #N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 4 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | 0 | #N/A | 0 | #N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 5 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | 0 | #N/A | 0 | #N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[20 empty] | 152.1631 |  |  |  | 508.2269 |  |  |  |  | 3: 0.026484; 4: 5.1346e-07; 5: 4.0221e-07; 6: 0.026616
(c) Summary: Select from (a) or (b) based on the user's selection
[12 empty] | Parameter | From Time Calcs (a) | From Volume Calcs (b) | Sum | Units
[12 empty] | Site Energy Use | 0 | 760.8155 | 760.8155 | kJ/day
[12 empty] | Source Energy Use | 0 | 2541.1347 | 2541.1347 | kJ/day
[12 empty] | Emissions - CO2 | 0 | 0.13242 | 0.13242 | kg CO2/day
[12 empty] | Emissions - CH4 | 0 | 2.5673e-06 | 2.5673e-06 | kg CH4/day
[12 empty] | Emissions - N2O | 0 | 2.011e-06 | 2.011e-06 | kg N2O/day
[12 empty] | Emissions - GHG | 0 | 0.13308 | 0.13308 | kg CO2-eq/day
(d) Energy Use by Energy Type, Annual Totals (portion in the double box gets updated to tblEnergyUse each time the facility is edited, or inserted upon Facility creation.)
[12 empty] | FacilityID | FuelID | EnergyUse | FuelType | User Unit | Use1 | Use2 | Use3 | Use4 | Use5
[12 empty] | 1 | 1 | 77.1911 | Electricity | kWh | 77.1911 | 0 | 0 | 0 | 0
[12 empty] | 1 | 2 | 0 | Natural Gas | therm | 0 | 0 | 0 | 0 | 0
[12 empty] | 1 | 3 | 0 | Biogas | ft³ | 0 | 0 | 0 | 0 | 0
[12 empty] | 1 | 4 | 0 | Biodiesel | gal | 0 | 0 | 0 | 0 | 0
[12 empty] | 1 | 5 | 0 | Diesel | gal | 0 | 0 | 0 | 0 | 0
[12 empty] | 1 | 6 | 0 | Gasoline | gal | 0 | 0 | 0 | 0 | 0
[12 empty] | 1 | 7 | 0 | Propane | gal | 0 | 0 | 0 | 0 | 0
[12 empty] | 1 | 8 | 0 | Heating Oil | gal | 0 | 0 | 0 | 0 | 0
[12 empty] | 1 | 9 | 0 | Solar | kWh | 0 | 0 | 0 | 0 | 0
[12 empty] | 1 | 10 | 0 | Wind | kWh | 0 | 0 | 0 | 0 | 0
[12 empty] | 1 | 11 | 0 | Hydropower | kWh | 0 | 0 | 0 | 0 | 0
Helper Table - FuelTypeID by EnergySource
[12 empty] | Energy Source | Description | FuelID | EnergyUse
[12 empty] | Src1 | Electricity purchased from utility | 1 | 77.1911
[12 empty] | Src2 | 0 | 0 | 0
[12 empty] | Src3 | 0 | 0 | 0
[12 empty] | Src4 | 0 | 0 | 0
[12 empty] | Src5 | 0 | 0 | 0
Note on O2: List source for in-cell drop down menus created using Excel's Data Validation feature
Note on T2: List source for in-cell drop down menus created using Excel's Data Validation feature
Note on AE2: In the same order that the user entered it on the worksheet "Energy"
Note on AG2: Sorted for use with VLOOKUP. This data gets inserted with a call to the database EACH time the worksheet is loaded.
Note on AJ29: Converted to CO2-equivalents with potency factors for CH4 and N2O
Save
Cancel
Import...
Energy Use
Edit Energy Sources...

## Report
Output Report | [20 empty] | Mass Units Lookup Table
[15 empty] | Time Units |  | Volume Units |  | Energy Units | Emissions Units | Mass | Divide by [_] to get kg
[15 empty] | second |  | gal |  | Btu | kg | kg | 1
| Tables | [5 empty] | System Charts | [7 empty] | minute |  | kgal |  | MMBtu | lb | lb | 2.2046
1 | Energy Use | kJ | per | year |  |  |  | Source Energy | [6 empty] | hour |  | MG |  | J | metric ton | metric ton | 1000
2 |  | Water | Wastewater | Operations | End Use | Total |  | Num | ScenarioID | Water | Wastewater | End Use | Operations | Total | day |  | BG |  | kJ | ton | ton | 907.194
3 | Test | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | 1 | 1 | 2541.1347 |  |  |  | 2541.1347 | week |  | m³ |  | MJ
4 |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | 2 | [5 empty] | 0 | month |  | ft³ |  | GJ
5 |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | 3 | [5 empty] | 0 | two months |  | HCF |  | TJ
6 |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | 4 | [5 empty] | 0 | quarter |  | AF |  | kWh-eq
7 |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | 5 | [5 empty] | 0 | year |  | TAF |  | MWh-eq
8 |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | 6 | [5 empty] | 0 |  |  | KAF |  | GWh-eq
9 |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | 7 | [5 empty] | 0
10 |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | 8 | [5 empty] | 0
|  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | 9 | [5 empty] | 0
|  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | 10 | [5 empty] | 0 | GHG Factors - mult. by to get CO2 equivalents
[15 empty] | CH4 Potency | 25
1 | CO2 Emissions | ton | per | year |  |  |  | CO2 Emissions | [6 empty] | N2O Potency | 298
2 |  | Water | Wastewater | Operations | End Use | Total |  | Num | ScenarioID | Water | Wastewater | End Use | Operations | Total
3 | Test | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | 1 | 1 | 0.13242 |  |  |  | 0.13242 | EnergyFactor | 365.25
4 |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | 2 | [5 empty] | 0 | EmissionsFactor | 0.40262
5 |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | 3 | [5 empty] | 0
6 |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | 4 | [5 empty] | 0
7 |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | 5 | [5 empty] | 0 | Conversion Factors
8 |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | 6 | [5 empty] | 0 | Energy Use Numerator Conversion Factor |  |  | 1 | convNumEnergy
9 |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | 7 | [5 empty] | 0 | Energy Use Denominator Conversion Factor |  |  | 365.25 | convDenomEnergy
10 |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | 8 | [5 empty] | 0
|  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | 9 | [5 empty] | 0 | Emissions Numerator Conversion Factor |  |  | 0.0011023 | convNumEmiss
|  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | 10 | [5 empty] | 0 | Emissions Denominator Conversion Factor |  |  | 365.25 | convDenomEmiss
| CH4 Emissions | ton / year | [5 empty] | CH4 Emissions | [6 empty] | Energy Intensity Conversion Factor |  |  | 3785.412 | EnergyIntensityFactor
|  | Water | Wastewater | Operations | End Use | Total |  | Num | ScenarioID | Water | Wastewater | End Use | Operations | Total
| Test | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | 1 | 1 | 2.5673e-06 |  |  |  | 2.5673e-06
|  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | 2 | [5 empty] | 0
|  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | 3 | [5 empty] | 0
|  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | 4 | [5 empty] | 0
|  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | 5 | [5 empty] | 0
|  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | 6 | [5 empty] | 0
|  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | 7 | [5 empty] | 0
|  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | 8 | [5 empty] | 0
|  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | 9 | [5 empty] | 0
|  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | 10 | [5 empty] | 0
| N2O Emissions | ton / year | [5 empty] | N2O Emissions
|  | Water | Wastewater | Operations | End Use | Total |  | Num | ScenarioID | Water | Wastewater | End Use | Operations | Total
| Test | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | 1 | 1 | 2.011e-06 |  |  |  | 2.011e-06
|  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | 2 | [5 empty] | 0
|  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | 3 | [5 empty] | 0
|  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | 4 | [5 empty] | 0
|  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | 5 | [5 empty] | 0
|  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | 6 | [5 empty] | 0
|  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | 7 | [5 empty] | 0
|  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | 8 | [5 empty] | 0
|  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | 9 | [5 empty] | 0
|  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | 10 | [5 empty] | 0
|  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| Total GHG Emissions as CO2 equivalent |  |  | ton / year |  |  |  | Total GHG Emissions as CO2 equivalent
|  | Water | Wastewater | Operations | End Use | Total |  | Num | ScenarioID | Water | Wastewater | End Use | Operations | Total
| Test | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | 1 | 1 | 0.13308 | 0 | 0 | 0 | 0.13308
|  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | 2 |  | 0 | 0 | 0 | 0 | 0
|  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | 3 |  | 0 | 0 | 0 | 0 | 0
|  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | 4 |  | 0 | 0 | 0 | 0 | 0
|  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | 5 |  | 0 | 0 | 0 | 0 | 0
|  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | 6 |  | 0 | 0 | 0 | 0 | 0
|  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | 7 |  | 0 | 0 | 0 | 0 | 0
|  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | 8 |  | 0 | 0 | 0 | 0 | 0
|  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | 9 |  | 0 | 0 | 0 | 0 | 0
|  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | 10 |  | 0 | 0 | 0 | 0 | 0
Note on B32: Methane, or CH4, is 21 times more potent per unit weight than carbon dioxide in terms of global warming potential when considered over a 100-year period.
Note on B45: Nitrous oxide, or N2O, is a combustion byproduct that is 310 times more potent per unit weight than carbon dioxide in terms of global warming potential when considered over a 100-year period.
Note on C32: Choose units for all greenhouse gas emissions above, on the line for CO2 Emissions.
Note on C45: Choose units for all greenhouse gas emissions above, on the line for CO2 Emissions.
Note on E59: Choose units for all greenhouse gas emissions above, on the line for CO2 Emissions.
Note on M21: Table shows raw output in SI units used by the model. Conversions are performed by worksheet functions, and change with the user's choice of units in the dropdowns at left.
Note on M61: Use formulas here -- all the required information is above.
Note on T3: List source for in-cell drop down menus created using Excel's Data Validation feature
Export...

## Charts
[8 empty] | FacilityType | Description | FlowCategory | Time Units | Volume Units | Energy Units | Emissions Units | [5 empty] | ScenarioID | 1 | ScenarioName | ScenarioID | Parameters | Parameter | Units
Component Charts | [7 empty] | 1 | Source | 1 | second | gal | Btu | kg | [7 empty] | Test | 1 | Flow | Flow | #VALUE!
[8 empty] | 2 | Conveyance | 1 | minute | kgal | MMBtu | lb | [9 empty] | Energy | SourceEnergy | #VALUE!
System Component Charts | [7 empty] | 3 | Water Treatment | 1 | hour | gal UK | J | metric ton | [9 empty] | CO2 Emissions | CO2 | #VALUE!
Scenario | Test | [6 empty] | 4 | Distribution | 1 | day | L | kJ | ton | Multipliers |  |  |  |  | units | #VALUE! |  |  | CH4 Emissions | CH4 | #VALUE!
[8 empty] | 5 | Wastewater Conveyance | 2 | week | ML | MJ |  | Flow | 0.00026417 | 1 | multFlow | 0.00026417 |  |  |  |  | N2O Emissions | N2O | #VALUE!
Parameter | CH4 Emissions | [6 empty] | 6 | Wastewater Treatment | 2 | month | GL | GJ |  | Energy | 8.3167e-05 | 1 | multEnergy | 8.3167e-05 | parameter | CH4 |  |  | Total GHG Emissions | GHG | #VALUE!
[8 empty] | 7 | Wastewater Discharge | 2 | two months | MG | TJ |  | Emissions | 0.0011023 | 0.041667 | multEmissions | 4.5929e-05
Flow units | MG | per | day |  |  |  |  | 8 | Operations | 3 | quarter | BG | kWh-eq
[8 empty] | 9 | End Use | 4 | year | m³ | MWh-eq
Source Energy Units | kWh-eq | per | day | [8 empty] | ft³
HCF
Emissions units | ton | per | hour | [8 empty] | AF
TAF
KAF
Facility Type
|  |  |  | Note: Different colors in each bar represent different facilities | Water Treatment | 3 | 1.1791e-10
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
Note on U1: List source for in-cell drop down menus created using Excel's Data Validation feature
Export...

## Data Table
Data Table 1
Flow, Energy Use, and Emissions by Water System Facility
|  |  | Units: | MG / day | kJ / year | kJ / MG | ton / year | ton / year | ton / year | ton / year |  | kWh / year | therm/ year | ft³ / year | gal / year | gal / year | gal / year | gal / year | gal / year | kWh / year | kWh / year | kWh / year
Site Energy Use
Scenario | Part of System | Facility Type | Facility Name | Flow | Energy Use | Energy Intensity | CO2 Emissions | N2O Emissions | CH4 Emissions | Total GHG Emissions as CO2 equivalent | FacilityID | Electricity | Natural Gas | Biogas | Biodiesel | Diesel | Gasoline | Propane | Heating Oil | Solar | Wind | Hydropower
Note on D5: Choose energy units on the Report worksheet Choose flow units on the Charts sheet.
Export...

## tblFacilityTypes
FacilityType | Description | FlowCategory | FlowCategoryDesc
1 | Extraction | 1 | Water
2 | Conveyance | 1 | Water
3 | Water Treatment | 1 | Water
4 | Distribution | 1 | Water
5 | Wastewater Collection | 2 | Wastewater
6 | Wastewater Treatment | 2 | Wastewater
7 | Wastewater Discharge | 2 | Wastewater
8 | Operations | 3 | Operations
9 | End Use | 4 | End Use

## tblEnergy_US
FuelID | Description | EnergyType | UserUnit | FactorCO2 | FactorCH4 | FactorN2O | kJ | TransmissionLoss | ConversionEfficiency | SourceSiteRatio
1 | Electricity purchased from utility | Electricity | kWh | 0.588 | 1.14e-05 | 8.93e-06 | 3600 | 0.06156 | 0.319 | 3.34
2 | Onsite co-generation | Biogas | ft³ | 0 | 0 | 0 | 633 | 0 | 1 | 1
3 | Gasoline | Gasoline | gal | 8.78 | 0.0014 | 0.0001 | 131078 | 0.0099 | 1 | 1.01
4 | Diesel fuel | Diesel | gal | 10.21 | 0.0015 | 0.0001 | 146325 | 0.0099 | 1 | 1.01
5 | Natural gas | Natural Gas | therm | 5.302 | 0.0001 | 1e-05 | 105505.6 | 0.04489 | 1 | 1.047
6 | Solar | Solar | kWh | 0 | 0 | 0 | 3600 | 0 | 1 | 1
7 | Wind | Wind | kWh | 0 | 0 | 0 | 3600 | 0 | 1 | 1
8 | Hydropower | Hydropower | kWh | 0 | 0 | 0 | 3600 | 0 | 1 | 1
9
10
11
12
13
14
15

## tblEnergy_CA
FuelID | Description | EnergyType | UserUnit | FactorCO2 | FactorCH4 | FactorN2O | kJ | TransmissionLoss | ConversionEfficiency | SourceSiteRatio
1 | Electricity purchased from utility | Electricity | kWh | 0.206 | 9e-06 | 4e-06 | 3600 | 0.08 | 0.319 | 3.407
2 | Onsite co-generation | Biogas | m³ | 0 | 0 | 0 | 22355.4 | 0 | 1 | 1
3 | Gasoline | Gasoline | L | 2.289 | 0.00012 | 0.00016 | 34859.3 | 0.0099 | 1 | 1.01
4 | Diesel fuel | Diesel | L | 2.663 | 0.000133 | 0.0004 | 38655 | 0.0099 | 1 | 1.01
5 | Natural gas | Natural Gas | m³ | 1.881 | 3.7e-05 | 3.5e-05 | 37259 | 0.04489 | 1 | 1.047
6 | Solar | Solar | kWh | 0 | 0 | 0 | 3600 | 0 | 1 | 1
7 | Wind | Wind | kWh | 0 | 0 | 0 | 3600 | 0 | 1 | 1
8 | Hydropower | Hydropower | kWh | 0 | 0 | 0 | 3600 | 0 | 1 | 1
9
10
11
12
13
14
15

## tblEnergyUse
ID | FacilityID | FuelID | EnergyUse

## tblGenInfo
Name | Notes | Country
Simulation name | Notes about the simulation | United States

## tblHelp
HelpID | Title | HelpText
0 | Intro Help | The help files provide useful information about the various functions and features of WESim. If you still have questions, please refer to the user's manual for a more detailed discussion.
1 | Start Help | All of the data file management tasks are found on this page. To begin, open a new or existing file using the buttons located on the lower right of this page. You may optionally enter a name and description of the scenario. Additional information on the file management tasks can be found on the Data File Management help file, located on the right of this page. Once you have opened a file, you may either edit Energy Sources or proceed to the Scenario Manager page. You can access these sheets by selecting the hyperlinks to the right or using the navigation panel. Note that there is no need to save the workbook; all of your information is automatically stored in the database as you move between worksheets. You should make sure not to move or delete this file while you're working. You should also refrain from opening it with any other application, e.g. MS Access.
2 | Volume Units Help | L = liter kL = kiloliter = 1,000 L ML = megaliter = 1,000,000 L GL = gigaliter = 1,000,000,000 L gal = US gallon (3.785 L) kgal = thousand gallons (3,785 L) gal UK = Imperial gallon = 4.546 L m³ = cubic meter, 1,000 L AF = acre·foot, 325,851 gal, or 1.23 GL KAF = TAF = thousand acre-feet MAF = million acre-feet ft³ = cubic foot = 7.48 US gallons = 28.3 L HCF = hundred cubic feet = 2,830 L MG = million gallons BG = billion gallons
3 | Scenario Manager Help | A 'Scenario' is a description of your water system under one set of circumstances, rules, or assumptions. It is common to begin with a 'Baseline' scenario that describes the current state of your water and/or wastewater system. Once you have created a baseline scenario, you can create alternative scenarios. See the Scenario Managment help link on this worksheet for instructions on creating scenarios.
4 | Default wizard Help | Use the Default Wizard to assist you in estimating the energy intensity of your facility. Default values are provided for different elements of the water and wastewater system based on energy intensities for existing water systems described in published literature. Note that there is frequently a wide range of reported values. Additionally, calculators are included that allow you to estimate the energy requirements based on basic parameters about your water and/or wastewater systems. These estimates are based on a 2007 AWWARF study and have been adopted by the EPA for benchmarking water and wastewater systems. See the WESim Guidance Manual for additional information about the defaults. Please note that the values provided by the wizard are rough approximations and may not be accurate for your system. In general, we recommend using data from your own agency's staff or studies.
5 | System Manager Help | The Water System Manager is where you can add, edit, delete, or duplicate a system facility. A “facility” can be a portion of the water system and can range from a set of facilities (e.g., all groundwater pumps), a single facility, or a portion of a facility. You can display the water volume and energy use for system facilities by clicking the checkboxes near the top of the sheet. Select from a wide range of units. Large numbers are displayed in scientific notation (1.34E+09). If the numbers shown look like this #####, then the number is too large to be displayed in the cell. Try changing the units to produce a smaller number.
6 | Facility Management Help | To begin, click “Add a Facility” in the Facility Management section. This takes you to the Water System Facility Editor worksheet, where you can enter flow and energy information for the system facilities. You can also duplicate, rename, or delete a facility. You may change the order of the facilities, although this will have no impact on the energy use or greenhouse gas emissions.
7 | Water System Facility Editor Help | On this sheet, you should enter the water flow and energy use for a water system facility. Begin by naming the facility and selecting which part of the water system it represents. Then indicate the volume of water that flows through the facility and the actual energy consumption of the facility or some estimate of its energy intensity. Because a single facility may be powered by multiple energy sources, WESim allows you to enter up to five different energy sources for a single facility. Additional help for entering energy data is provided on the help hyperlink on this worksheet entitled 'Help Entering Energy.' Note that you will NOT be able to save information on this sheet if data is missing or filled out incorrectly.
8 | Entering Facility Energy Use Help | First, check that all of the energy sources that power your water and wastewater system are included on the Energy Sources sheet. If not, click “Edit Energy Sources” to go to the Energy Source Manager worksheet. After you have finished entering the energy sources, select “Save” to return to this worksheet. Actual energy use may be found on electric and gas bills or meter records. WESim offers you a number of choices of units for entering data. Use some caution when using a bill from a single month, or meter readings for a week, especially if water demand varies seasonally. We suggest collecting a year’s worth of bills and entering an annual total. Defaults are also available by selecting the calculator button on this worksheet.
9 | Facility Editor Import Help | Select 'import' to pull in all of the information (except the name) of another facility, essentially making a carbon copy of it. First choose the Scenario, then choose the facility from the list in the popup dialog box. If you change your mind and do not want to keep the imported information, clicking Cancel will take you back to the System Manager page without saving your edits or the imported information.
10 | Report Sheet Help | Model outputs include total energy use and greenhouse gas emissions for each alternative scenario. Greenhouse gas emissions include carbon dioxide (CO2), methane (CH4), nitrous oxide (N2O), and carbon-dioxide equivalents (CO2-eq). You can select among a range of units for viewing the outputs. Select the appropriate display units using the pull-down menus within the blue cells.
11 | Charts Sheet Help | While the charts on the previous sheet showed comparisons among the scenarios, the chart on this worksheet lets you look at the types of energy use and emissions within individual scenarios. The best way to understand it is to look at different combinations by choosing among the various options in the drop-down menus in the cells at left.
12 | Energy Sources Help | Enter every energy source that powers your water and wastewater system, including electricity purchased from a third party and fuels used to produce electricity, heat, or motive power. Default emissions factors and heat content are provided for some energy sources. Enter additional energy sources as appropriate for your system by typing the information in the table below. See the manual for further references and data sources.
13 | Scenario Management Help | Your first task should be to add a new scenario. Once you have created a scenario, it will appear as a button in the scenarios pane at left. Clicking on this button will take you to the Water System Manager page where you can begin adding facilities and filling in information on water and energy use. Once you have filled in the water system to your satisfaction, you can create a carbon copy of it that you can modify. To do this, click the 'Duplicate Scenario' button and choose the system to copy. You can also delete or rename scenarios, and move them up and down in the list by clicking 'Change Order.' Please note that deleting a scenario is permanent and there is way to undo this.
14 | Data Table Help | The data tables give you direct access to some of the 'raw data' used by the model to summarize energy use and emissions. You can use the Autofilter feature on the data table in place to examine parameters of interest. You can copy this sheet to a new workbook to perform more sophisticated analyses, such as subtotals and Pivot Tables.
15 | Export Help | You can export the results of WESim to other formats for use in reports, etc. Choose one or more items to export, and then select a format. Please be patient during the export, as it can take from 20-30 seconds on some systems. Also note that in order to export to Word or PowerPoint, these applications must be installed on your computer. Web pages will be opened in your computer's default web browser.
16 | Energy Units Help | NO LONGER IN USE
17 | Emissions Factor Help | Emissions factors represent the amount of greenhouse gas emssions released per unit of fuel or energy consumption. For example, burning one barrel of diesel fuel (which is about 86% carbon) liberates 400 kg of carbon dioxide gas, along with small amounts of other gases. Note that methane is 25 times more potent than CO2, in terms of global warming potential. Nitrous oxides are 298 times more potent than CO2. The potency of the various greenhouse gases are taken into account when calculating the total global warming potential, which is typically expressed in units of CO2-equivalents. Emissions factors for electric consumption depend on the type of energy used by your utility. Please refer to the user's manual for data sources for these values.
18 | Water Heater Efficiency | The efficiency of a water heater varies both by the type of fuel it uses and how recently it was manufactured. A water heater's Energy Factor can be estimated based on its fuel type and year manufactured. Typical values for new water heaters are: Electric - 0.90 Natural Gas - 0.55 Fuel Oil - 0.59
19 | End Use Temperature | Some typical end use temperatures: Baths: 100ºF, 38ºC Showers: 105ºF, 40ºC Sink filling: 105ºF, 41ºF Dishwashers: 100% hot water, or 139ºF, 59ºC Faucet use: 80ºF, 27ºC Commercial/Residential clothes washer: 78ºF, 26ºC Washing machines warm setting: 40% hot water Commercial Spray Valve: 120ºF, 49ºC Commercial Dishwasher: 180ºF, 82ºC (Please see the manual for more information, and for the sources of this data.)
20 | Data File Management Help | To set up a new blank simulation, select 'Create a New File.' To continue working on a previously saved file, select 'Open an Existing File.' To verify that the file shown is a valid WESim database, select 'Check Database Connection.' Click 'View Folder' to open Windows Explorer and identify the directory where your database file is stored. This may be useful for managing or moving your data files. To create an exact copy of your current file with a new file name, select 'Duplicate the Current File.' This is useful for backing up your work. If you've worked with the same database file for a long time, its file size can grow. Click 'Compact Database File' from time to time to keep the file at a minimum size. Click 'Clear This Sheet' to remove all of your entries from the worksheet.
21 | Energy Units Help | The units shown for each fuel type reflect the most common units for measuring consumption or billing for the fuel. For example, electric consumption is usually expressed in kilowatt-hours (kWh). Natural gas is generally expressed as therms or cubic meters (m³), biogas as cubic feet (ft³) or cubic meters (m³), and liquid fuels as gallons or liters. English customary units are used for the United States, and metric units are shown for Canada.
22 | Transmission Loss Help | When electrical energy is transmitted via the grid, some energy is lost along the way. These transmission losses typically range from 1% to 10% depending on the size and efficiency of the grid. We use a standard transmission loss factor of 6% for US and 8% for Canada. Similarly, with liquid fuels, some leakage and loss occurs in the supply chain between the refinery and the point of use. We apply a standard transmission loss of 1% for liquid fuels.
23 | Conversion Efficiency Help | We use the concept of conversion efficiency to compare electrical energy with other fuel types on a standard basis. When fuels are burned at power plants, less than 1/3 of the heat is converted to usable electrical power. We use a conversion efficiency of 30% for electrical power generation.
24 | Site vs. Source Energy Consumption | When referring to energy, it is important distinguish between “source energy” and “site energy.” Source energy is the total amount of raw fuel that is consumed in order to operate the facility (including fuel used to produce electricity off-site). Source energy takes into account all of the transmission, delivery, and production losses associated with energy and allows for a a more accurate comparison among the alternative scenarios. Source energy is commonly reported in British thermal units (Btu) or kilojoules (kJ). Most facility managers are most familiar with site energy, the total amount of heat and electricity consumed by a facility as reflected in utility bills. It typically includes electricity (in kWh), natural gas (in therms or m3), diesel (in gallons or liters), etc. Because it is difficult to compare among scenarios with a range of energy sources, site energy is often combined into a single reporting unit, i.e., kilowatt-hour equivalents. This represents the total amount of electricity you would have had to purchase if all of your facility’s energy came from electricity only. WESim reports source energy in British Thermal Units (Btu) and kilojoules (kJ). It reports the site energy in units of kilowatt-hour equivalents (kWh-eq) and megawatt-hour equivalents (MWh-eq).

## tblHelper
cell | FuelID
Energy1 | 1
Energy2 | 2
Energy3 | 3
Energy4 | 4
Energy5 | 5

## tblPrimaryKeys
Table | Primary Key
tblScenarios | ScenarioID
tblFacility | ComponentID
tblEnergy | FuelID
tblComponentTypes | ComponentType

## tblScenarios
ScenarioID | ScenarioName

## tblTreatment_US
CategoryID | Description | Low | Median | High
1 | Surface water | 0 | 0 | 0
1 | Seawater | 0 | 0 | 0
1 | Recycled water | 0 | 0 | 0
2 | Local water | 88 | 110 | 330
2 | Imported water | 1900 | 3000 | 5300
3 | Chlorine Disinfection | 8 | 9.5 | 10
3 | Conventional Treatment (<1 MGD) | 620 | 1500 | 2000
3 | Conventional Treatment (1-5 MGD) | 300 | 750 | 1300
3 | Conventional Treatment (5-20 MGD) | 180 | 560 | 1100
3 | Conventional Treatment (20+ MGD) | 120 | 210 | 1000
3 | UV Disinfection (Low-Pressure Lamps) | 57 | 64 | 70
3 | UV Disinfection (Medium Pressure Lamps) | 100 | 150 | 160
3 | Ozone Disinfection | 120 | 160 | 440
3 | Ultrafiltration/Microfiltration | 320 | 500 | 750
3 | Brackish Water Desalination (1000-3000 mg/l) | 3000 | 3600 | 4200
3 | Brackish Water Desalination (3000-5000 mg/l) | 4200 | 4750 | 5300
3 | Brackish Water Desalination (5000-7000 mg/l) | 5300 | 5850 | 6400
3 | Brackish Water Desalination (7000-10,000 mg/l) | 6400 | 7350 | 8300
3 | Seawater Desalination | 14000 | 15000 | 16000
3 | Recycled Water (conventional tertiary treatment) | 1500 | 1600 | 1700
3 | Recycled Water (membrane treatment) | 3700 | 4000 | 4500
4 | Potable water distribution | 360 | 540 | 860
4 | Recycled water distribution | 1000 | 1400 | 3000
5 | Wastewater collection | 140 | 280 | 440
6 | Secondary wastewater treatment, 1-5 mgd | 1500 | 2300 | 3100
6 | Secondary wastewater treatment, 5-20 mgd | 1400 | 2000 | 2500
6 | Secondary wastewater treatment, 20-50 mgd | 1200 | 1600 | 2000
6 | Secondary wastewater treatment, 50+ mgd | 960 | 1400 | 2100
6 | Advanced treatment I, 1-5 MGD | 1900 | 2200 | 2900
6 | Advanced treatment I, 5-20 MGD | 2000 | 2500 | 2900
6 | Advanced treatment I, 20-50 MGD | 1200 | 2000 | 2100
6 | Advanced treatment I, 50+ MGD | 1800 | 2000 | 2100
6 | Advanced treatment II, 1-5 MGD | 2200 | 3300 | 4800
6 | Advanced treatment II, 5-20 MGD | 2300 | 3000 | 3300
6 | Advanced treatment II, 20-50 MGD | 1800 | 2400 | 4300
6 | Advanced treatment II, 50+ MGD | 1700 | 1800 | 2300
7 | Wastewater discharge | 0 | 0 | 0

## tblTreatment_CA
CategoryID | Description | Low | Median | High
1 | Surface water | 0 | 0 | 0
1 | Seawater | 0 | 0 | 0
1 | Recycled water | 0 | 0 | 0
2 | Local water | 0.023 | 0.029 | 0.087
2 | Imported water | 0.5 | 0.79 | 1.4
3 | Chlorine Disinfection | 0.0021 | 0.0025 | 0.0026
3 | Conventional Treatment (<1 MGD) | 0.16 | 0.4 | 0.53
3 | Conventional Treatment (1-5 MGD) | 0.079 | 0.2 | 0.34
3 | Conventional Treatment (5-20 MGD) | 0.048 | 0.15 | 0.29
3 | Conventional Treatment (20+ MGD) | 0.032 | 0.056 | 0.26
3 | UV Disinfection (Low-Pressure Lamps) | 0.015 | 0.017 | 0.019
3 | UV Disinfection (Medium Pressure Lamps) | 0.026 | 0.04 | 0.042
3 | Ozone Disinfection | 0.032 | 0.042 | 0.12
3 | Ultrafiltration/Microfiltration | 0.085 | 0.13 | 0.2
3 | Brackish Water Desalination (1000-3000 mg/l) | 0.79 | 0.95 | 1.1
3 | Brackish Water Desalination (3000-5000 mg/l) | 1.1 | 1.3 | 1.4
3 | Brackish Water Desalination (5000-7000 mg/l) | 1.4 | 1.6 | 1.7
3 | Brackish Water Desalination (7000-10,000 mg/l) | 1.7 | 1.9 | 2.2
3 | Seawater Desalination | 3.7 | 4 | 4.2
3 | Recycled Water (conventional tertiary treatment) | 0.4 | 0.42 | 0.45
3 | Recycled Water (membrane treatment) | 0.98 | 1.1 | 1.2
4 | Potable water distribution | 0.095 | 0.14 | 0.23
4 | Recycled water distribution | 0.26 | 0.37 | 0.79
5 | Wastewater collection | 0.037 | 0.074 | 0.12
6 | Secondary wastewater treatment, 1-5 mgd | 0.4 | 0.61 | 0.82
6 | Secondary wastewater treatment, 5-20 mgd | 0.37 | 0.53 | 0.66
6 | Secondary wastewater treatment, 20-50 mgd | 0.32 | 0.42 | 0.53
6 | Secondary wastewater treatment, 50+ mgd | 0.25 | 0.37 | 0.56
6 | Advanced treatment I, 1-5 MGD | 0.5 | 0.58 | 0.77
6 | Advanced treatment I, 5-20 MGD | 0.53 | 0.66 | 0.77
6 | Advanced treatment I, 20-50 MGD | 0.32 | 0.53 | 0.56
6 | Advanced treatment I, 50+ MGD | 0.48 | 0.53 | 0.56
6 | Advanced treatment II, 1-5 MGD | 0.58 | 0.87 | 1.3
6 | Advanced treatment II, 5-20 MGD | 0.61 | 0.79 | 0.87
6 | Advanced treatment II, 20-50 MGD | 0.48 | 0.63 | 1.1
6 | Advanced treatment II, 50+ MGD | 0.45 | 0.48 | 0.61
7 | Wastewater discharge | 0 | 0 | 0